## SR ER Diagram
SR Entity Relationships
| OMS_Outage | GIS_Boundary/Landbase
| tenant | type
| mRID_TrippedEquipment | subtype
| class_TrippedEquipment | geometryType
| actualPeriodStart | geometryCoordinates
| actualPeriodEnd | mRID
| cause | tenant
| isPlanned | longitude
| mRID | latitude | GIS_Equipment
| totalCount |  | mRID
| type |  | class
| stormId |  | geometryType
| stormIndicator |  | geometryCoordinates
| latitude | OMS_Outage_Equipment | mounting
| longitude | tenant | tenant
|  | mRID_Outage | feederId
| Must have table | mRID_Equipment | normalOpen
| Nice to have table | actualPeriodStart | mRID_Substation
|  | actualPeriodEnd | mRID_Structure
| Must have columns |  | normallyInService
| Nice to have table |  | open
mounting

## NC ER Diagram
NC Entity Relationships
GIS_Landbase/Boundary
type
subtype
geometryType
|  |  | AMI_Interval_Readings |  |  | geometryCoordinates | CIS_CustomerAccounts
|  |  | tenant |  |  | mRID
|  |  | unit |  |  | tenant | tenant
|  |  | measurementKind |  | CIS_UsagePoints |  | mRID | CIS_Customer_Agreements
|  |  | phases |  | tenant |  | mRID_Customer
|  |  | intervals |  | mRID_Meter |  | kind | tenant
|  |  | intervalStart |  | mRID_Location |  |  | mRID
|  |  | intervalEnd |  | mRID |  |  | name
|  |  | intervalValue |  | mRID_Transformer |  |  | mRID_Location
|  |  | mRID_Meter |  | connectionState |  | CIS_Location | mRID_CustomerAccount
|  |  | unitSource |  | longitude |  | tenant | mRID_Customer
[5 empty] | latitude |  | mRID | validityStart
[5 empty] | validityStart | GIS_Equipment |  | validityEnd
[5 empty] | validityEnd | mRID |  |  | CIS_Customer
[6 empty] | class |  |  | tenant
| CIS_Meter |  |  | AMI_Meter_Events |  | geometryType |  |  | mRID
| tenant |  |  | tenant |  | geometryCoordinates |  |  | kind
| mRID |  |  | mRID |  |  |  | Equipment_Terminals
|  |  |  | mRID_Meter | OMS_Outage_Equipment | tenant
|  |  |  | eventOrAction | tenant | feederId |  | tenant
|  | Must have table |  | createdDateTime | mRID_Outage | normalOpen |  | phases
|  | Nice to have table |  |  | mRID_Equipment |  |  | mRID_Equipment
[5 empty] | actualPeriodStart |  |  | mRID_ConnectivityNode
[5 empty] | actualPeriodEnd |  |  | mRID
OMS_Outage
tenant
mRID_TrippedEquipment
class_TrippedEquipment
actualPeriodStart
actualPeriodEnd
cause
isPlanned
mRID
totalCount
type
stormId
stormIndicator
latitude
longitude

## OMS_Outage
SR Product Pilot data requirements (OMS Outage)
Label | tenant | mRID | mRID_TrippedEquipment | class_TrippedEquipment | actualPeriodStart | actualPeriodEnd | cause | isPlanned | totalCount | longitude | latitude | type | stormId | stormIndicator
Description | An identifier used to segment data within organizations that have multiple divisions, operating companies, etc. If there is only one OpCo, we don't need this columns | Unique ID for the outage | The identifier(from GIS/EAM) of the associated equipment that tripped as a result of the outage. | The CIM class of the associated tripped equipment. | Actual outage period; | end of the period corresponds to the actual restoration time. | One or more causes of this outage. should include weather related causes Could be generally labeled as "weather related" or labeled as "rain", "ice", "lightning","wind","tree", vehicles", etc. If "cause unknown" specify in general if it is weather related or not. | True if planned, false otherwise (for example due to a breaker trip). | Number of all service (delivery) points affected by an outage. | X axis position: must be in radian (between -180 to +180 ) | Y axis position: must be in radian (between -90 to +90 ) | Utility-specific classification of this document, according to its corporate standards, practices, and existing IT systems (e.g., for management of assets, maintenance, work, outage, customers, etc.). | A unique identifier given to a storm. | True if the outage was caused by a storm. (important to identify which outages are storm related)
Type | String | String | String | String | DateTime | DateTime | String | Boolean | Int | Real | Real | String | String | Boolean
Examples:
Must have
Should have
nice to have

## AMI_Interval_Readings
NC Product Pilot data requirements (AMI Interval Readings)
Label | tenant | mRID_Meter | unit | flowDirection | measurementKind | unitSource | phases | intervals | intervalStart | intervalEnd | intervalValue | intervalQuality
Description | An identifier used to segment data within organizations that have multiple divisions, operating companies, etc. If there is only one OpCo, we don't need this columns | An identifier for an associated Meter. | Normalized units | 'F' or 'R' for forward/reverse flow. Default to 'F' if not provided. | Identifies "what" is being measured, as refinement of 'commodity'. When combined with 'unit', it provides detail to the unit of measure. For example, 'energy' with a unit of measure of 'kWh' indicates to the user that active energy is being measured, while with 'kVAh' or 'kVArh', it indicates apparent energy and reactive energy, respectively. 'power' can be combined in a similar way with various power units of measure: Distortion power ('distortionVoltAmperes') with 'kVA' is different from 'power' with 'kVA'. | Units from source, generally specifying the phase | Metering-specific phase code. | Number of intervals | String of comma separated timestamps representing the start of each interval (e.g. "2019-05-01T14:00:00.000+00:00,2019-05-01T15:00:00.000+00:00,2019-05-01T16:00:00.000+00:00"). | String of comma separated timestamps representing the end of each interval (e.g. "2019-05-01T15:00:00.000+00:00,2019-05-01T16:00:00.000+00:00,2019-05-01T17:00:00.000+00:00"). | String of comma separated values for each interval (e.g. "243.00,241.00,248.00"). | String of comma separated quality flags for each interval (e.g. "1,1,1")
Type | String | String | String | Char | String | String | String | Integer | List(DateTime) | List(DateTime) | String | String
Examples:
Must have
Should have
nice to have

## GIS_Equipment
NC Product Pilot data requirements (GIS Equipment)
Label | mRID | class | geometryType | geometryCoordinates | mRID_Substation | mounting | normalOpen | feederId | tenant | normallyInService | mRID_Structure | name | aliasName | description | type | aggregate | PSRType | open | lengthValue | lengthUnit
Description | Unique ID for a equipment. | The CIM class name for the specific type of equipment. Examples: ACLineSegment, Breaker, Clamp, ConductingEquipment, Connector, FaultIndicator, Fuse, GeneratingUnit, Ground, PowerTransformer, PrimaryMeter, ProtectedSwitch, Recloser, RegulatingCondEq, Sectionaliser, ShuntCompensator, Switch | A GeoJSON geometry type. Valid values: Point, MultiPoint, LineString, MultiLineString, Polygon, MultiPolygon. | A GeoJSON coordinates array encoded as a string.[lat, long] | An identifier for an associated Substation. | Mounting position of the structure (e.g. underground). | The attribute is used in cases when no Measurement for the status value is present. If the Switch has a status measurement the Discrete.normalValue is expected to match with the Switch.normalOpen. Note: Default to "false" if unknown or non-switching equipment. | Feeder (circuit) identifier for the equipment. | An identifier used to segment data within organizations that have multiple divisions, operating companies, etc. | If true, the equipment is normally in service. | An identifier for an associated Structure. | The name is a free text human readable name of the object. It may be non unique and may not correlate to a naming hierarchy. | The aliasName is free text human readable name of the object alternative to IdentifiedObject.name. It may be non unique and may not correlate to a naming hierarchy. | The description is a free human readable text describing or naming the object. It may be non unique and may not correlate to a naming hierarchy. | Utility-specific classification of Asset and its subtypes, according to their corporate standards, practices, and existing IT systems (e.g., for management of assets, maintenance, work, outage, customers, etc.). | The single instance of equipment represents multiple pieces of equipment that have been modeled together as an aggregate. Examples would be power transformers or synchronous machines operating in parallel modeled as a single aggregate power transformer or aggregate synchronous machine. This is not to be used to indicate equipment that is part of a group of interdependent equipment produced by a network production program. | Custom classification for this power system resource. | The attribute tells if the switch is considered open when used as input to topology processing. | Segment length for calculating line section capabilities
Type | String | String | String | String | String | String | String | String | String | String | String | String | String | String | String | String | String | String | Float | String
Must have
Should have
nice to have

## AMI Meter Events
NC Product Pilot data requirements (AMI Meter Events)
Label | tenant | mRID | mRID_Meter | domain | eventOrAction | createdDateTime | name | aliasName | description | subDomain | type | statusValue | statusDateTime | type | severity | reason
Description | An identifier used to segment data within organizations that have multiple divisions, operating companies, etc. If there is only one OpCo, we don't need this columns | Unique ID for the event. | An unique identifier for an associated Meter. | High-level nature of the event. By properly classifying events by a small set of domain codes, a system can more easily run reports based on the types of events that have occurred or been received. | The most specific part of this event type. It is mainly in the form of a verb that gives action to the event that just occurred. | Date and time this activity record has been created (different from the 'status. dateTime', which is the time of a status change of the associated object, if applicable). Basically when th event was created. | The name is a free text human readable name of the object. It may be non unique and may not correlate to a naming hierarchy. | The aliasName is free text human readable name of the object alternative to IdentifiedObject.name. It may be non unique and may not correlate to a naming hierarchy. | The description is a free human readable text describing or naming the object. It may be non unique and may not correlate to a naming hierarchy. | More specific nature of the event, as a further sub-categorization of 'domain'. | Type of physical device from which the event was created. A value of zero (0) can be used when the source is unknown. | Information on consequence of event resulting in this activity record. |  | Type of event resulting in this activity record | Severity level of event resulting in this activity record. | Reason for event resulting in this activity record, typically supplied when user initiated.
Type | String | String | String | String | String | DateTime | String | String | String | String | String | String | DateTime | String | String | String
Must have
Should have
nice to have

## GIS_Landbase
NC Product Pilot data requirements (GIS Landbase)
Label | tenant | mRID | name | aliasName | description | type | subtype | geometryType | geometryCoordinates
Description | An identifier used to segment data within organizations that have multiple divisions, operating companies, etc. | Unique ID for a GIS internal world. | The name is a free text human readable name of the object. It may be non unique and may not correlate to a naming hierarchy. | The aliasName is free text human readable name of the object alternative to IdentifiedObject name. It may be non unique and may not correlate to a naming hierarchy. | The description is a free human readable text describing or naming the object. It may be non unique and may not correlate to a naming hierarchy. | Utility-specific classification of Asset and its subtypes, according to their corporate standards, practices, and existing IT systems (e.g., for management of assets, maintenance, work, outage, customers, etc.). | An additional type classification for the feature. | A GeoJSON geometry type. Valid values: Point, MultiPoint, LineString, MultiLineString, Polygon, MultiPolygon. | A GeoJSON coordinates array encoded as a string. Examples: Point "[-87.8685181248838,41.8849286095934]" LineString "[[-87.8685181248838,41.8849286095934],[-87.8686360862897,41.8851737374074]]"
Type | String | String | String | String | String | String | String | String | String
Must have
Should have
nice to have

## CIS_UsagePoints
NC Product Pilot data requirements (CIS Usage Points)
Label | tenant | mRID | mRID_Location | mRID_Meter | mRID_Transformer | connectionState | longitude | latitude | validityStart | validityEnd | isVirtual | aliasName | description | phaseCode | ratedCurrentValue | ratedCurrentUnit | ratedPowerValue | ratedPowerUnit | minimalUsageExpected | nominalServiceVoltageValue | nominalServiceVoltageUnit | isSdp | outageRegion | serviceKind | statusValue | statusDateTime | modifiedTimestamp
Description | An identifier used to segment data within organizations that have multiple divisions, operating companies, etc.If there is only one OpCo, we don't need this columns | Unique ID for a usage point. | An unique identifier for an associated Location. | An unique identifier for an associated Meter. | An unique identifier for an associated Transformer (GIS Equipment). | State of the usage point with respect to connection to the network. | X, Y position for this usage point. Note: This can be used over the UsagePointLocation for UsagePoint specific coordinates since a location can have multiple usage points. |  | Date and time interval this usage point is valid (from going into effect to termination). |  | Leave Blank | The aliasName is free text human readable name of the object alternative to IdentifiedObject.name. It may be non unique and may not correlate to a naming hierarchy. | The description is a free human readable text describing or naming the object. It may be non unique and may not correlate to a naming hierarchy. | Phase code. Number of wires and specific nominal phases can be deduced from enumeration literal values. For example, ABCN is three-phase, four-wire, s12n (splitSecondary12N) is single-phase, three-wire, and s1n and s2n are single- phase, two-wire. | Current flow that this usage point is configured to deliver. |  | Active power that this usage point is configured to deliver. |  | If true, minimal or zero usage is expected at this usage point for situations such as premises vacancy, logical or physical disconnect. It is used for readings validation and estimation. | Nominal service voltage. |  | If true, this usage point is a service delivery point, i.e., a usage point where the ownership of the service changes hands. | Outage region in which this usage point is located. | Kind of service (e.g. electric, water, gas). | Status of this usage point. |  | Date/time the data was last updated (or created).
Type | String | String | String | String | String | String | Float | Float | DateTime | DateTime |  | String | String | String | Float | String | Float | String | Boolean | Float | Float | Boolean | String | String | String | DateTime | DateTime
Must have
Should have
nice to have

## CIS_Customer
NC Product Pilot data requirements (CIS Customer table)
Label | tenant | mRID | kind | name | aliasName | description | pucNumber | specialNeed | statusValue | statusDateTime | vip | modifiedTimestamp
Description | An identifier used to segment data within organizations that have multiple divisions, operating companies, etc.If there is only one OpCo, we don't need this columns | Unique ID for a customer. | Kind of customer (e.g. Residential, Commercial, Industrial, Other) | The name is a free text human readable name of the object. It may be non unique and may not correlate to a naming hierarchy. | The aliasName is free text human readable name of the object alternative to IdentifiedObject.name. It may be non unique and may not correlate to a naming hierarchy. | The description is a free human readable text describing or naming the object. It may be non unique and may not correlate to a naming hierarchy. | Public utility commission (PUC) identification number. | True if customer organization has special service needs such as life support, hospitals, etc. | Status of this customer |  | True if this is an important customer. Importance is for matters different than those in 'specialNeed' attribute. | Date/time the data was last updated (or created).
Type | String | String | String | String | String | String | String | Boolean | String | DateTime | Boolean | DateTime
Must have
Should have
nice to have

## CIS_CustomerAccounts
NC Product Pilot data requirements (CIS Customer Accounts table)
Label | tenant | mRID | kind | mRID_Customer | aliasName | description | billingCycle | budgetBill | modifiedTimestamp
Description | An identifier used to segment data within organizations that have multiple divisions, operating companies, etc. | Unique ID for a customer account. | Alternative to Customer - Kind if the Customer table is not provided. | An identifier for an associated Customer. | The aliasName is free text human readable name of the object alternative to IdentifiedObject.name. It may be non unique and may not correlate to a naming hierarchy. | The description is a free human readable text describing or naming the object. It may be non unique and may not correlate to a naming hierarchy. | Cycle day on which the associated customer account will normally be billed, used to determine when to produce the billing. | Budget bill code. | Date/time the data was last updated (or created).
Type | String | String | String | String | String | String | String | String | DateTime
Must have
Should have
nice to have
|  |  | Y | n/a | 1 | tenant | String | Y | An identifier used to segment data within organizations that have multiple divisions, operating companies, etc.
|  |  | Y | IdentifiedObject - mRID | 2 | mRID | String | Y | Unique ID for a customer account.
|  |  | N | IdentifiedObject - name | 3 | name | String | N | The name is a free text human readable name of the object. It may be non unique and may not correlate to a naming hierarchy.
|  |  | N | IdentifiedObject - aliasName | 4 | aliasName | String | N | The aliasName is free text human readable name of the object alternative to IdentifiedObject.name. It may be non unique and may not correlate to a naming hierarchy.
|  |  | N | IdentifiedObject - description | 5 | description | String | N | The description is a free human readable text describing or naming the object. It may be non unique and may not correlate to a naming hierarchy.
|  |  | N | IdentifiedObject - mRID | 6 | mRID_Customer | String | N | An identifier for an associated Customer.
|  |  | N | Customer Account - billingCycle | 7 | billingCycle | String | N | Cycle day on which the associated customer account will normally be billed, used to determine when to produce the billing.
|  |  | N | Customer Account - budgetBill | 8 | budgetBill | String | N | Budget bill code.
|  |  | N | Customer - kind | 9 | kind | String | N | Alternative to Customer - Kind if the Customer table is not provided.
|  |  | N | n/a | 10 | modifiedTimestamp | DateTime | N | Date/time the data was last updated (or created).

## CIS_Customer_Agreements
NC Product Pilot data requirements (CIS Customer Agreements)
Label | tenant | mRID | mRID_Customer | mRID_Location | validityStart | validityEnd | mRID_CustomerAccount | name | aliasName | description | loadMgmt | type | statusValue | statusDateTime | modifiedTimestamp
Description | An identifier used to segment data within organizations that have multiple divisions, operating companies, etc. | Unique ID for a customer agreement. | An unique identifier for an associated Customer. | An unique identifier for an associated Location. | Date and time interval this agreement is valid (from going into effect to termination). |  | An identifier for an associated Customer Account. | The name is a free text human readable name of the object. It may be non unique and may not correlate to a naming hierarchy. | The aliasName is free text human readable name of the object alternative to IdentifiedObject.name. It may be non unique and may not correlate to a naming hierarchy. | The description is a free human readable text describing or naming the object. It may be non unique and may not correlate to a naming hierarchy. | Load management code. | Utility-specific classification of this document, according to its corporate standards, practices, and existing IT systems (e.g., for management of assets, maintenance, work, outage, customers, etc.). | Status of subject matter (e.g., Agreement, Work) this document represents. For status of the document itself, use 'docStatus' attribute. |  | Date/time the data was last updated (or created).
Type | String | String | String | String | DateTime | DateTime | String | String | String | String | String | String | String | DateTime | DateTime
Must have
Should have
nice to have

## OMS_Outage_Equipment
NC Product Pilot data requirements (OMS Equipment Outages)
Label | tenant | mRID_Outage | mRID_Equipment | class_TrippedEquipment | actualPeriodStart | actualPeriodEnd | cause | isTrippedEquipment | modifiedTimeStamp
Description | An identifier used to segment data within organizations that have multiple divisions, operating companies, etc. | The identifier of the associated Outage. | An identifier for the associated device (from GIS/EAM). Note: Additional equipment details such as longitude, latitude, phase, feeder, etc. will be ingested/stored with the associated device. | The CIM class of the associated tripped equipment. | Actual outage period; | end of the period corresponds to the actual restoration time. | One or more causes of this outage specific to this equipment. | True if this device tripped due to the outage. | Date/time the data was last updated (or created).
Type | String | String | String | String | DateTime | DateTime | String | Boolean | DateTime
Must have
Should have
nice to have

## Equipment_Terminals
NC Product Pilot data requirements (Equipment Terminals)
Label | tenant | sequenceNumber | phases | mRID_Equipment | mRID_ConnectivityNode | mRID
Description | An identifier used to segment data within organizations that have multiple divisions, operating companies, etc. | The orientation of the terminal connections for a multiple terminal conducting equipment. The sequence numbering starts with 1 and additional terminals should follow in increasing order. The first terminal is the "starting point" for a two terminal branch. | Represents the normal network phasing condition. If the attribute is missing three phases (ABC or ABCN) shall be assumed. | An identifier for an associated Equipment. | An identifier for an associated ConnectivityNode. | Unique ID for a terminal.
Type | String | Integer | String | String | String | String
Must have
Should have
nice to have